## Slide 1: Building a Reference Energy System

## Slide 2: Reference Energy System
Technology
(Resource Creation)
Commodity
(Resource)
Technology
(Powerplant)
Commodity
(Electricity 1)
Technology
(Infrastructure)
Commodity
(Electricity 2)
Demand
MINGAS
PWRGAS
PWRTRN
GAS
COA
HYD
WND
PWRPVR
PVR

## Slide 3
PWRBIO | Biomass Power Plant
PWRCOA | Coal Power Plant
PWRGEO | Geothermal Power Plant
PWROHC001 | Light Fuel Oil Power Plant
PWROHC002 | Oil Fired Gas Turbine (SCGT)
PWRNGS001 | Gas Power Plant (CCGT)
PWRNGS002 | Gas Power Plant (SCGT)
PWRSOL | Solar PV (Utility)
PWRCSP001 | CSP without Storage
PWRCSP002 | CSP with Storage
PWRHYD001 | Large Hydropower Plant (Dam) (>100MW)
PWRHYD002 | Medium Hydropower Plant (10-100MW)
PWRHYD003 | Small Hydropower Plant (<10MW)
PWRWND001 | Onshore Wind
PWRWND002 | Offshore Wind
PWRNUC | Nuclear Power Plant
PWRSOL01S | Utility-scale PV with 2 hour storage
PWRWND01S | Onshore Wind power plant with storage
PWROHC003 | Light Fuel Oil Standalone Generator (1kW)
PWRPVR | Solar PV (Distributed with Storage) OFF GRID
PWRHYD004 | Off-grid Hydropower
Go to CCG Starter Kits and find your assigned country.
Find your country and Click on the 2nd link across ( under EN-Pre-print) to open up the menu explaining the energy data acquired for that country.
Now under ‘EN-Pre-print’ click the drop down arrow on ‘data description’ and scroll down to the first table: ‘Installed Power Plants Capacity’.
With this information create a RES for your country using the naming conventions outlined on the right

## Slide 4
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LNDFOR
LNDBLT
LNDWAT
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC
LFOR
LBLT
LWAT
MINPRC
WTRPRC
MINPRC
WTRSUR
WTRGWT
WTREVT
DEMAGRSURWAT
DEMAGRGWTWAT
DEMPUBSURWAT
DEMPUBGWTWAT
PUBWAT
DEMPWRGWTWAT
DEMPWRSURWAT
PWRWAT
ELC002
ELC002
ELC002
ELC002
DEMAGRDSL
AGRWAT
AGRDSL
DEMTRABIO
TRABIO

## Slide 7
MINLND
LNDMAIHR
LNDRICHR
LND
CRPMAI
CRPRIC

## Slide 8
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC

## Slide 9
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LNDFOR
LNDBLT
LNDWAT
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC
LFOR
LBLT
LWAT

## Slide 10
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LNDFOR
LNDBLT
LNDWAT
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC
LFOR
LBLT
LWAT

## Slide 11
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LNDFOR
LNDBLT
LNDWAT
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC
LFOR
LBLT
LWAT
MINPRC
WTRPRC
MINPRC
WTRSUR
WTRGWT
WTREVT

## Slide 12
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LNDFOR
LNDBLT
LNDWAT
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC
LFOR
LBLT
LWAT
MINPRC
WTRPRC
MINPRC
WTRSUR
WTRGWT
WTREVT
DEMAGRSURWAT
DEMAGRGWTWAT
DEMPUBSURWAT
DEMPUBGWTWAT
PUBWAT
AGRWAT

## Slide 13
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LNDFOR
LNDBLT
LNDWAT
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC
LFOR
LBLT
LWAT
MINPRC
WTRPRC
MINPRC
WTRSUR
WTRGWT
WTREVT
DEMAGRSURWAT
DEMAGRGWTWAT
DEMPUBSURWAT
DEMPUBGWTWAT
PUBWAT
DEMPWRGWTWAT
DEMPWRSURWAT
PWRWAT
AGRWAT

## Slide 14
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LNDFOR
LNDBLT
LNDWAT
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC
LFOR
LBLT
LWAT
MINPRC
WTRPRC
MINPRC
WTRSUR
WTRGWT
WTREVT
DEMAGRSURWAT
DEMAGRGWTWAT
DEMPUBSURWAT
DEMPUBGWTWAT
PUBWAT
DEMPWRGWTWAT
DEMPWRSURWAT
PWRWAT
ELC002
ELC002
ELC002
ELC002
AGRDSL
AGRWAT

## Slide 15
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LNDFOR
LNDBLT
LNDWAT
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC
LFOR
LBLT
LWAT
MINPRC
WTRPRC
MINPRC
WTRSUR
WTRGWT
WTREVT
DEMAGRSURWAT
DEMAGRGWTWAT
DEMPUBSURWAT
DEMPUBGWTWAT
PUBWAT
DEMPWRGWTWAT
DEMPWRSURWAT
PWRWAT
ELC002
ELC002
ELC002
ELC002
DEMAGRDSL
AGRWAT
AGRDSL

## Slide 16
MINLND
LNDMAIHR
LNDRICHR
LNDMAIHI
LNDRICHI
LNDFOR
LNDBLT
LNDWAT
LND
CRPMAI
CRPMAI
CRPRIC
CRPRIC
LFOR
LBLT
LWAT
MINPRC
WTRPRC
MINPRC
WTRSUR
WTRGWT
WTREVT
DEMAGRSURWAT
DEMAGRGWTWAT
DEMPUBSURWAT
DEMPUBGWTWAT
PUBWAT
DEMPWRGWTWAT
DEMPWRSURWAT
PWRWAT
ELC002
ELC002
ELC002
ELC002
DEMAGRDSL
AGRWAT
AGRDSL
DEMTRABIO
TRABIO

## Slide 17: Thank you
www.climatecompatiblegrowth.com